Removal of Dyes from Waste Water Using Commercial Activated Carbon (CAC) as Adsorbent with Kinetic Aspect

Ayad F. Al-Kaim                                             Khawlaa Gani , Mohamed B.

College for Women Sciences, Babylon University     College for Science, Al-Muthana University

Aseal M. Kadhum

College for women sciences, Babylon University

(NJC)

(Received on  17/2/2008)                   (Accepted for publication  9/6/2008)

Abstract

In this study, the removal of dyes which are present in the industrial waste-water from Diwaniyaa textile factory, by commercial activated carbon (CAC) was investigated as a function of temperature and pHs, residual amount of colored wastewater determined using uv-visible technique at maximum wavelength 370 nm.

Adsorption process was attained to the equilibrium within 60 minutes, the adsorbed amount of mixture dyes  were found increased as temperature and pHs decreased.

Kinetics of adsorption was studied by using Lagergreen’s equation at different pHs and the adsorption rate constant Kad was calculated. The kinetic result indicates that the adsorption process is pseudo first order. Activation energy was calculated using Arrhenius equation which depends on the nature of the adsorbent surface.

الخلاصة

تم في هذه الدراسة امتزاز الاصباغ الموجودة في المياه الصناعية لمعمل نسيج الديوانية باستخدام الكاربون المنشط التجاري, ودرست عملية الامتزاز كدالة لدرجة الحرارة والدالة الحامضية.

تم تحديد تراكيز الاتزان باستخدام تقنية الاشعة المرئية – الفوق البنفسجية عند الطول الموجي 370 نانومتر, ووجد ان زمن الاتزان هو حوالي 60 دقيقة. وجد ان قابلية الامتزاز للنموذج المعالج من الأصباغ الملوثة  تزداد مع نقصان درجة الحرارة والدالة الحامضية.

تم دراسة حركية الامتزاز باستخدام معادلة Lagergreen عند مختلف الدوال الحامضية, وتم حساب ثابت سرعة حركية الامتزاز عند كل دالة, وبينت نتائج حركية الامتزاز ان الامتزاز يطيع حركية الرتبة الأولى الكاذبة. وأخيرا طاقة التنشيط عند مختلف الدوال الحامضية تم احتسابها باستخدام معادلة  Arrhenius.

Introduction

Water pollution is any human-caused contamination of water that reduces its usefulness to humans and other organisms in nature. Pollutants such as herbicides, pesticides, fertilizers, and hazardous chemicals can make their way into our water supply. When our water supply is contaminated, it is a threat to human, animal, and plant health unless it goes through a costly purification procedure.

Colour removal from textile effluents has been the subject of great attention in the last few years, not only because of its toxicity but mainly due to its visibility.(1) Through hundreds of years, the scale of production and the nature of dyes has changed drastically, consequently the negative impact of dyes on the environment has increased.(2) Adsorption processes which produce good quality effluents that are low in concentration of dissolved organic compounds, such as dyes,(3,4) are rapidly gaining importance as treatment processes.

Dyeing and finishing processes are two important steps in the textile manufacturing process(5, 6). The steps involve the dyeing of man-made or, natural fibers to the desired permanent colours and processing of these fibers into commercial products, subsequently discharging the waste-water.

Before directing these waters away from the industry, they should be treated to remove organic wastes and colouring agents. For this adsorption has evolved as one of the most effective and economical, physical; processes for de-colourization of textile waste-water(7,8). Synthetic dyes represent a relatively large group of organic chemicals which are encountered in practically all spheres of our daily life. It is therefore possible that such chemicals have undesirable effects not only on the environment, but also on humans. In order to minimize the possible damage to people and the environment arising from the production and application of dyes, several studies have been conducted around the  world (10-14).

- The best adsorbent surface for removal of pollutants is activate carbon, which have surface properties are both hydrophobic and hydrophilic; that is, they “hydrophobic” water but “hydrophilic” oil. (15) Organic chemicals are often responsible for taste, odor, and color problems, activated carbon can generally be used to remove such impurities. (16, 17)

Activated carbon has a high adsorption capacity or reactivity which arises from the complexity of the chemical surface groups compared to other surfaces.

The surface of carbon materials can contain not one but, at least, five markedly different types of surface groups such as carboxylic, lactonic, phenolic, carbonyl and etheric types. This diversity of surface groups makes the surface chemistry (acid-base character) much more versatile than that of other adsorbents. (18, 19)

The present work involves removal of industrial waste water by commercial activated carbon at different temperatures and pHs.

Materials and methods

Materials:

Mixture of  dyes which are present in the industrial waste water, was taken  from Diwaniyaa textile factory

Carbon powder activation: - which was taken from Babylon university, college of engineering, after grinding and sieving, then drying, the powder in the oven at (150 ºC) for      (1 hour). The purpose of this stage is to burn out the organic materials if were existed. In additional to that the reactivity of carbon powder will be gained which is affected by mechanical work (crushing and sieving) at 90 (µm),have properties as shown in table 1.

Table 1: Properties of the used activated carbon.

| Test | Specification |
| --- | --- |
| Dimension (granular) | 12x40 mesh (0.4-1.6)mm |
| Bulk density (kg/m³) | 460-480 |
| Void fraction | 0.45 |
| Specific surface area (m2/g) | 1100-1130 |
| Hardness (%) | 98 |
| Ash (%) | 5 (max.) |
| Microporos | high |

Spectronic – 21 mode u.v-visible single beam with 1 cm cells Bausch and lomb (USA) was used for all absorbance measurements, pH measurements were made with Knick digital pH meter (England), Shaker water bath, SB. 4, Tecam were used.

Methods:

The adsorption rate data at different temperatures and initials pH values have been obtained by allowing the commercial activated carbon –solute (0.02 gm of CAC / 20 ml of solute)  to be mixed in the shaker water bath, by taken the initial absorbance at each pHs then solution was treated with the adsorbent surface. During these experiments, samples of the solution have been periodically withdrawn at a definite time period (10, 20, 30, 40, 50, 60, 70 and 80 min.). then was filtered and the residual amount of colored mixture dyes were determined spectrophotometry by depending on Beer-Lambert law at 370 nm, which measured at each time using uv- visible technique, the same treatment was applied at different pHs and temperatures.

Results and Discussion

Effect of contact time

The experimental results of adsorption of colored mixture of  dyes on the CAC was studied with different times and the equilibrium data shown in Figures (1-3) at different temperatures and pHs.

The equilibrium is reached after 60 minutes for all the conditions applied [i.e: pH= (5, 7 and 9)], and temperature (290K, 300K and 310K), reveal that the adsorption percent increases with increasing time until equilibrium achieve (20-22).

Figure 1: Effect of contact time by using percentage adsorbed of

Mixture dyes on CAC at different temperature and pH 5.

Figure 2: Effect of contact time by using percentage adsorbed of

Mixture dyes on CAC at different temperature and pH 7.

Figure 3: Effect of contact time by using percentage adsorbed of

Mixture dyes on CAC at different temperature and pH 9.

Mechanism behavior of adsorption of mixture dyes

The wastewater from industry usually contains more than one dye, in order to investigate the mechanism of sorption, kinetic models have been used to test experimental data. The kinetic model in this study includes the pseudo – first order equation, to study the removal of dye mixture.

The pseudo–first order equation of Lagergreen is generally expressed as follows(23):

dQdt=k(Qe−Qt)..........(2)Qe=(A0−Ae)m(gm)∗V(L)......(3)Qt=(A0−At)m(gm)∗V(L)......(4)

Where Ao, At, and Ae are absorbency of colored dye at before adsorption, at time t and at equilibrium, also Qe and Qt are the sorption capacity at equilibrium and at time t, respectively, and k is the rate constant of pseudo first order sorption (min-1). After integration and applying boundary conditions t=0 to t = t and Qt=0 to Qt=Qt, the integrated form of eq(2) becomes:

ln(Qe−Qt)=lnQe−kt..........(5)

The value of rate constant for the pseudo first order reaction is calculated experimentally by plotting ln(Qe−Qt)against time of the adsorption of colored mixture dyes into (CAC) according to eq (5), results are  shown in Figures  (4-6)  and  values of rate constants are illustrated in table (2).

Figures below show increased in rate constant with temperature increase, this may be due to the tendency for the colored mixture dyes molecules to escape from the solid phase to the bulk phase with an increase in temperature of the solution.(24-26)

Figure 4: Pseudo- first order adsorption kinetic of  colored mixture dyes on the CAC surface at different temperatures and pH 5.

Figure 5: Pseudo- first order adsorption kinetic of  colored mixture dyes on the CAC surface at different temperatures and pH 7.

Figure 6: Pseudo- first order adsorption kinetic of  colored mixture dyes on the CAC surface at different temperatures and pH 9.

The value of rate constant Kad, are  calculated experimentally from Figures (5, 6 and 7), were found to be  increased  when temperature increased from 290 to 310K, at different pHs, also the best result of rate constants were  found at low pH, and the  values of rate constants are illustrated in table (2).

Table 2: Rate constants for effect of different temperatures on the sorption of  coulored waste water.

| pH 5 T/ K | Kads (min-1)*102 | R2 |
| --- | --- | --- |
| 290 | 6.834 | 0.9241 |
| 300 | 7.070 | 0.9354 |
| 310 | 7.506 | 0.9193 |
| pH 7 T/ K | Kads(min-1)*102 | R2 |
| 290 | 5.880 | 0.9654 |
| 300 | 6.217 | 0.9503 |
| 310 | 7.071 | 0.9079 |
| pH 9 T/ K | Kads(min-1)*102 | R2 |
| 290 | 4.329 | 0.9756 |
| 300 | 5.079 | 0.9359 |
| 310 | 5.381 | 0.9504 |

The sorption rate constant  may be expressed as a function of  temperature by following the relationship(27, 28):

lnk=lnA−EaRT..........(6)

Where  k is the rate constant of sorption (min-1), Ea is the activation energy of sorption (kJ mole-1), R is the gas constant (0.008314 kJ K-1 mole-1), T is solution temperature (K).

The logarithm of ka values for the pseudo first order were plotted as a function of reciprocal of the Kelvin temperature. Linear variation were observed and are shown in Figure (7), values of activation energy and  oscillator factor are illustrated in table (3).

It would be expected that an increase in solution temperature would result in a decrease in adsorption capacities, which leads that the adsorption process is exothermic(20)

Figure 7: Arrhenius equation to calculate the activation energy for pseudo first order reaction by effect of temperature at different pHs.

Table 3: values of activation energy and  oscillator factor for adsorption of coulored mixture dyes by CAC at different pHs.

| pH | Ea (kJ mole-1) *103 | oscillator constant [A] (min-1) | R2 |
| --- | --- | --- | --- |
| 5 | 3.542 | 0.284 | 0.9718 |
| 7 | 7.119 | 1.107 | 0.9493 |
| 9 | 8.029 | 1.283 | 0.9372 |

Conclusion

The colored wastewater was strongly sorbed by CAC,  this could be explained by adsorption interaction between the adsorbed  dye  molecules and CAC.

The pseudo first-order kinetic model fits very well with the dynamical adsorption behavior of  this compound in solution with different temperatures and at different pHs.

High values of rate constant were found at high temperature and low pH.

From values of activation energy explained the adsorption process is exothermic.

References

1. V. Meyer, F. H. H. Carlsson, R. A. Oellermann, Wat. Sci. Tech. 1992, 16 ,1205.

2. J. I. Taraskevich, Natural Adsorbents in Wastewater Treatment (in Russian), Naukova Dumka, Kiev, (1981).

3. G. McKay, S. J. Allen, I. P. McConvey, J. H. R. Wallters, Ind. Eng. Chem. Process Des. Dev., 1984, 23  221.

4. V. Meshko, L. Markovska, M. Mincheva, V. Cibulic, J. Ser. Chem. Soc., 1998, 63 ,891.

5. G . Mckay, Blair H.S ., and Gardner J .R ., "Adsorption of dyes on chitin: I Equilibrium studies " , J Appl. Polym. Sci, 1982, 27, 3043.

6. H .L. Shang, and Pang C .F., "Treatment of textile waste water by electrochemical method", Water Res , 1994, 28, 277.

7. H. Zollinger, Color Chemistry, VCH Publishers Inc. New York, (1991).

8. R. Deoraj, R.D. Guy, Clays and Clay Miner., 1981, 29, 3, 205.

9. G.S. Gupta, S.P. Shuckla, G. Prasad, V.N. Singh, Environ. Tech., 1992, 13, 925.

10. J. Cenens and A. Schoonheydt, Proceedings of the 9th International Clay Conference, Strasbourg, 85, 15-23 (1990).

11. L. Margulies, H. Rozen, S. Nir, Clays and Clay Miner., 1988, 36, 3, 270.

12. M.M. Socias, M.C. Hermosin, J. Cornejo, Chemosphere, 1998, 37, 289.

13. O. Ceyhan, H. Guler, R. Guler, Adsorp. Science Techno., 1999, 17, 469.

14. Y.  Mohammed, M.Sc.Thesis, college of Ibn Al-Haitham education, Baghdad  university  (2004).

15. D. Timothy Burchell, "Carbon Materials for Advanced Technologies ," Oak Ridge, National Laboratory Oak Ridge, 1999, TN 37831 -6088 U.S.A.

16. Jalil K. Ahmed "Carbon Fiber," pp(17-18), Al-Muntasseer institute, (1999).

17. S. Baksi, S. Biswas and S. Mahajan, "Activated Carbon from Bamboo - Technology Development towards Commercialization," News and Views.

18.World class ceramic water filters, "Activated Carbon for Drinking Water Filtration," Control Engineering Practice, Activated Carbon Filtration FAQ, (2006),DoultonUSA.com.

19. S. J. Allen, B. Koumanova, "Decolourisation of Water/Wastewater Using Adsorption," Journal of the University of Chemical Technology and Metallurgy, 2005, 40, 3, 175.

20. A. Al-Kaim, M.Sc.Thesis, college of science, Babylon university  (2005).

21. A. Al-Kaim, A. Al-shirifi and A. Al-Dujaili , National J. of Chemistry, 2007, 27 .

22. S. Senthikamur, P. R. varatharagan, K. porkodi and C. V. Subburraam, Colloid interface Sci., 2005, 284, 79.

23. C. Aharonic and D.L. Sparks, soil science society of America, 1991, Madison, WI, 1-18.

24. V. K. Gupta, D. Mohan and S. sharmay , a sugar industry waste material  Sep. Sci., Technol., 1998, 33, 1331.

25. V. Gomez, M. S. Larrechi and M.P. callao, J. of Chemosphere, 2007, 69, 7, 1151.

26. S. Sajjala , J. of Eng. Env. Sci., 2006, 30, 367.

27. A. Al-Kaim, S. J. Baqir and A. M. Kadhum, Scientific  J. of Karbalaa university, accepted for publication in November (2007).

28. K.P., Yadara, B.S. Tyagi, and V.N. Singh , J. Chem. Technol. Biotechnol., 1991, 51, 47.