## Determination of Some Physical and Chemical Properties for Different Samples of Petroleum Lubricants

## Luma Majeed Ahmed

Dept. of chemistry, college of science, University of Kerbala

Kerbala - Iraq.

(NJC)

(Received on 25/6/2006)                  (Accepted for publication on  18/2/2007)

### Abstract

Some physical and chemical properties for the different  samples of lubricants oil for sewing machines, lubricants oil for car’s engine before and after burn process such as, density (d), Specific gravity (Sp. gr.), standard density (API), dynamic viscosity , Kinematics viscosity , Fludity , Refractive index (R.I ), the percentage of ash (%Ash), acidity and basicity for the different  samples of petroleum lubrications were determined.

The heat of combustion (gross calorific value) (Q), heat of Latent (L) and the percentage of hydrogen (%H ) for the same samples were calculated also.

الخلاصة

تضمنت الدراسة تحديد بعض الصفات الفيزياوية والكيميائية لعينات مختلفة من زيوت تشحيم مكائن الخياطة، وزيوت محركات السيارات قبل وبعد عملية الحرق مثل الكثافة (d)، والوزن النوعي ((Sp. gr، والكثافة القياسية (API)،واللزوجة الديناميكية ()،واللزوجة الحركية ()، و السيولة،  ومعامل الانكسار(R.I)، والنسبة المئوية للرماد (%Ash)، والحامضية والقاعدية لعينات مختلفة من زيوت المشتقات البترولية  .

كذلك، تم حساب حرارة الاحتراق (القيمة الحرارية العليا)(Q) والحرارة الكامنة (L)، والنسبة المئوية للهيدروجين(%H) لنفس العينات.

Introduction

Oil used in   an  engine  must  serve  as:    1) a lubricant   to  reduce  friction, corrosion and wear, 2) a coolant, 3) a vehicle for removing  impurities (1)  , 4)   reducing operating   temperatures   under   full   load,

5) increasing component life and 6) reduce energy consumption(2).

Most lubrication oils (3) are a mixture consisting predominantly of hydrocarbons and compounds containing sulphur, nitrogen, oxygen and trace metals as minor constituents.

The properties of lubricate (4) are different by modifying the structure of it as increasing the length of chain, adding side chain and adding cyclic groups, all that will increase the viscosity and decrease the viscosity index.

The lubrication oils (1) in modern engines must operate over an extreme temperature range and should be non-toxic and non-explosive, all that will prove by employing additives such as (5, 6) antioxidant (amines, phenols), corrosion inhibitor, detergent and dispersant (Ca, Ba compounds, soaps), alkalinity (Ca, Ba hydroxides), antibacterial (biocides), Oiliness or wetting agents (fatty oils, chlorinated wax), Extreme pressure agents (organic compounds of Cl, S, P (hydraulic, gear oil)), pour point depressant (organic polymers), antifoam (silicanes), viscosity index improvers (organic polymers) and emulsifying agent (polar compounds).

The lubrication oil used as a cheap source of fuel to the urban poor enterprises and households by employing drip method(7).

The characteristics of lubrication oil depended on  its crude oil. It is different from oil field to other oil field, that indicated to different in a constituation of it, that was explained in the table(A):(8,9)

Table (A): The element Composition in (Wt % ) range for crude oil

| The elements | Element composition Wt % range |
| --- | --- |
| Carbon | 83.9 - 86.8 |
| Hydrogen | 11 - 14 |
| Sulfur | 0.06 - 8 |
| Nitrogen | 0.02 - 1.7 |
| Oxygen | 0.08 -1.82 |
| Metals | 0.0 - 0.14 |

The many researchers studied how to increase the ratio of hydrogen to carbon in petroleum to increase the product energy, according to the following equation (10-12).

a=constant depended on the type of hydrocarbon product.

Mrena and Coworkers(13) found the some physical and chemical properties of lubrication oils like net calorific value, gross calorific value Sp.gr at 30 and 60oC , viscosity at 30 and 60oC ……etc.

Hamdon(14) produced the activated carbon from spent Lubricating oil by employing oxidation condensation process.

Hendy and Coworkers(15) studied the chemical changes which occurred in oil emulsion by the action of eight different species of bacteria isolated, that changed the standard engineering performance for oil emulsion and increased the rust formation and corrosion of steel samples.

### Experimental Part

#### Instruments: The employed instruments are:-

- Digital balance (Sartorius, Bp- 2015-Germany).

- Water bath, (W 350-Germany).

- Refrectrometr, (Atago 1T- Japan).

- Furnace, (mke- Pe 100 – Canada).

B-Materials and Procedure:

Six samples were studied, according to the table (B):

| No. | Sample | Countries | Colour |
| --- | --- | --- | --- |
| 1 | Lubricants oil for sewing machines | Iran | Pale- yellow |
| 2 | Lubricants oil for sewing machines | Iraq | Light- yellow |
| 3 | Lubricants oil for sewing machines | Iraq | Brown –yellow |
| 4 | Lubricants oil for car’s engine before burn | Germany | Yellow-brown |
| 5 | Lubricants oil for car’s engine before burn | Iraq | Green- brown |
| 6 | Lubricants oil for car’s engine after burn | Iraq | Black-brown |

*The mechanical properties were determined such as, density (d), specific gravity (Sp. gr.), standard density (API), dynamic viscosity (), kinematics viscosity () and fluidity .

The densities(d) ( at 15 oC and 38 oC) were measured by pyknometer method according to the equation(1) (16):

= the densities of D.W.

The specific gravity was found by equation (2)( 13 ):

The degree (API) gravity was determined at 15 oC  by American Petroleum Institute of the following equation (17,18):

Dynamic (absolute) viscosity ()(16) is determined by the time of flow of studied samples and D. W at 38 oC.

The kinematics viscosity ()(19)is calculated by dividing the dynamic viscosity () to the density (d) at 38 oC.

The fluidity was calculated by employing equation(6)(16,19)

* The optical property, refractive index (R.I) was measured at 20 oC by employing   Abbi  refractometer, so the R.I  is regarded as an indicator of light- colored liquid petroleum products (20).

*The acidity and basicity were measured by titration method (21):

mmole of base = mmole of sample                      ………(7)

*The hydrogen content (%H ) was calculated  by following equation(.22):

*The thermal property, heat of combustion (gross calorific value) (Q) and heat of Latent (L)  were calculated by equations (9,10)( 23):

*The % Ash was measured by following equation (11) (24):

Results and Discussion

Table(1-A): Some mechanical properties (d, Sp.gr & API) for studied samples at ()

| No. of samples | Density (g/ mL) | Specific gravity (Sp. gr) | API |
| --- | --- | --- | --- |
| 1 | 0.88577 | 0.87354 | 30.4845 |
| 2 | 0.85178 | 0.84001 | 36.9503 |
| 3 | 0.86746 | 0.85548 | 33.9042 |
| 4 | 0.91877 | 0.90608 | 24.6672 |
| 5 | 0.98581 | 0.97219 | 14.0476 |
| 6 | 0.92177 | 0.90904 | 24.1587 |

*=1.0140 gm/mL

From the previous table, the sp. grs for all samples were approved with the standard range (25) (0.85 – 0.97) except sample (2) due to presence of  a low amounts of nephthene compounds (24).

The sp.gr of sample (6) was low compared with sample(5) that beyond to break its molecules during the burning process at 260- 400 oC in engine of car which cause the dissociation of its(26).

According to the standard range for API ( >15) (23, 25, 27), that refereed to approve with the API for all samples except sample (5) due to the same reason.

Table(1-B): Some Mechanical Properties () for studied samples at ()

| No. of samples | Density (g/ mL) | Poise | cSt | poise-1 |
| --- | --- | --- | --- | --- |
| 1 | 0.8084 | 0.6740 | 83.3745 | 1.4836 |
| 2 | 0.8482 | 0.3700 | 43.6215 | 2.7027 |
| 3 | 0.8648 | 0.3955 | 45.77326 | 2.5284 |
| 4 | 0.8728 | 1.2176 | 139.5050 | 0.8212 |
| 5 | 0.9143 | 2.0108 | 219.9278 | 0.4973 |
| 6 | 0.6390 | 1.4559 | 227.84037 | 0.6868 |

= 0.99497 gm/mL

According to the results in table (1-B), the density is decreased with the temperature, because oils are expansion with increased temperature(28).

In general, the standard range for kinematics  viscosity equal (15-150 cSt)(23 ). But the kinematics viscosity for samples (5) is very high, may be a cause for  the amount and the nature of additives which add as anti-oxidant, anti-corrosion, anti-microbiology, equilibrium matters and emulsion matter(29, 30).

The sample 6 was had a high value of Kinematics viscosity that due to corrode the iron of engine’s car during the burning processes.

The fluidity of sample (3) is more than fluidity of sample (5), that referees to a low dynamic viscosity.

Table(2): The optical properties (Colour and refractive index) for studied sample at ()

| No. of samples | Colour | R.I At 20oC |
| --- | --- | --- |
| 1 | Pale yellow | 1.474405 |
| 2 | Light yellow | 1.472405 |
| 3 | Brown-yellow | 1.473405 |
| 4 | Yellow- brown | 1.462038 |
| 5 | Green-brown | 1.494540 |
| 6 | Black-brown | - |

According to the results in table(2), that occurred the values of R.I of samples 1,2 and 3 were very close to each other, because they are light oils which used as lubrication for  sewing machine.

But the R.I for sample 4 is smaller than R.I for sample 5, in spite of they were employed in lubrication process for the car's engine, that may be a cause to the amount and the nature of additives (29, 30).

The sample 6 wasn’t  showed  a value of  R.I that beyond to corrode  the iron of  engine’s car during the burning processes with the time.

Table (3): The values of basicity and acidity for the studied samples at ().

| No. of samples | Basicity M | Acidity M |
| --- | --- | --- |
| 1 | - | 0.0100 |
| 2 | - | 0.0020 |
| 3 | - | 0.0016 |
| 4 | - | 0.006 |
| 5 | - | 0.002 |
| 6 | - | 0.094 |

According to results in table (3), the values of acidity were most lower to prevent the corrosion process in sewing machine and  car engine.

The acidity for sample 6 was highest than acidity for other samples,  that beyond to exist some oxygen compounds as result to react the lubricant with atmosphere oxygen during burned it in engine car, to give peroxide compound(24, 31), the increase in acidity will cause the corrosion in engine’s car therefore, the spent lubricating oils will replace(32, 33)..

Table(4): The values of percentage for %Ash of studied samples.

| No. of samples | %Ash |
| --- | --- |
| 1 | 0.860 |
| 2 | 0.280 |
| 3 | 0.592 |
| 4 | 30.120 |
| 5 | 25.020 |
| 6 | 26.080 |

From table(4) the results referred that %Ash are greater than the standard range (< 0.1)(22), due to presence of higher amount of inorganic metal like (Ni, Zn ….etc.) (24) during separation and purification processes in refineries.

Table(5): The values of thermal properties (L, Q and %H) at ()

| No. of samples | L Btu. Pound-1 | Q Kcal.Kg-1 | %H |
| --- | --- | --- | --- |
| 1 | 121.554 | 10797 | 12.8960 |
| 2 | 126.622 | 10876 | 13.3998 |
| 3 | 124.234 | 10863 | 13.1670 |
| 4 | 116.995 | 10674 | 12.4088 |
| 5 | 134.591 | 10415 | 11.4171 |
| 6 | 116.596 | 10664 | 12.3644 |

Btu(34) :Britain temperature unit = 778 ft. Ib.

According to the results in table (5), the %H in all samples were within the standard range(2) (11.8-13.3) except sample (5) due to additives.

The heats of combustion for all samples were within standard range(23)  (10504- 10882) Kcal. Kg-1  except sample  (5), due to its high sp. gr(22). The heats of latent for all samples were fixed with  the standard range (23) (111- 124) Btu. Pound-1 except sample (5)(22) due to the same reason.

References

- W. W. Pulkrabek, Engineering Fundamentals of the Internal Combustion Engine, Prentic Hall, USA, 1997.

- D. Laue, Machinery Lubrication Magazine, May, 2001.

- F. J. Villforth, Lubricants and Librication¸8th ed., Mc Grow Hill, 1978.

- E. F. Obert, Internal Combusion Enginers and Air Pollution, 3rd ed., Harper and row, New York, 1973.

- Y. C. Tuck, Marine engineer word, Lubrication oil, WWW. Practicingdanalysis. Com, 2004.

- T. Yoon, Marine engineer word, Additives that improve lubrication oils, WWW. Free-marine. Com and WWW. Free- engineering.com., 2006.

- H. T. Kimweri, Technical and Environmental assessment concering the Technology of Utilization of waste oil as fuel, Dar es Salaam, 1993.

- G. D. Hobson and W. Pohl, Modern Petroleum Technology, 4th ed., Applied Science Publishers LTD., 1975.

- C. F. Mabery, Ind. Eng. Chem., 1923,15, 314.

- W. Balthasar, Hydrogen Production and Technology: Today, Tomorrow and beyond, Int. J. Hydrogen Energy, 1984, 9¸ 649.

- C. W. Bowman, M. P. Duplessis, The Canadian Synthetic Fuel Industry- A. Major user of hydrogen, Int. J. Hydrogen Production, 1986, 11, 43.

- K. Wlesener, The Chemical and Industrial use of hydrogen, Int. J. Hydrogen energy, 1986, 11, 1301.

- G. D Mrema, P. P. Van Schijndel and F. J. Janssen, IET (Institution of Engineers Tanazania), 2000.

- A. A. Hamdon, Nati. J. of Chem., 2005, 18, 216.

- W. A. Hendy, N. K. Al-Hadary and A. K. Hendy, Nati. J. of Chem., 2002, 8, 510.

- O. F. Steinbach and C. V. King, Experimental in Physical Chemistry, American BookCompany, New York, 1950..

- Annual book of IP standard, Density and relative density, 14th ed, 1981, Vol. 1, IP 59.

- Annual book of IP standard, Standard method of test for density, specific gravity, or API gravity of crude petroleum and liquid petroleum products, 14th ed., 1981, Vol. 1, IP 160.

- A. Findlay, Practical Physical chemistry, 18th ed., Longmans, London, 1966.

- A. L. Ward and S. S. Kurtz, Ind. Eng. Chem., 1938, 10, 559.

- L. G. Hargis, Analytical chemistry, principles and techniques, prentice-Hall, Inc., London, 1988.

- R. H. Perry, C. H. Chilton and S. d. Kirpotrick, Chemical Engineers Handbook, McGraw Hill book Co., New York, 1963.

- A. S. Rahim, Ph. D Thesis, Sulaimani University (2003).

- ج. ش. جمالي، تكنولوجيا الوقود، الجامعة التكنولوجية، 1981.

- Herguth Laboratories, inc, WWW. Herguth.Com, 2006.

- J. D. Bushnell and R. J. Fiocco, Hydrocarbon Process, 1980, 59(5), 119.

- W. A. Crusse and D. R. Steven, Chemical Technology of Petroleum, 3rd ed., McGrow Hill, New York, 1960.

- K. A. Al-Ganam, K. I. Al-Neaime and A. A. Hamdon, J. Sci. and Edu., 2004,16(3).

- J. O. Cookson, Tribol. Int., 1977, 10, 5.

- S. Foxal-Van Aken, J. A. Brown, W. Young and R. H. Olsen, Appl. Environ. Microbial., 1986, 51, 1165.

- P. A. Asseff, Petroleum Additives and their functions, Lubrizol Corp., Cleveland Ohio, April, 1966.

- S.Borenstein, icrobiologically Influenced Corrosion Handbook, Woodhead Publishing Ltd, Cambridge, London, 1994.

- R. P. Gangloff and R. G. Kelly, Corrosion, 1994, 50(5), 345.

- R. L. Dangherty, J. B. Fanzini and E. J. Finnemore, Fluid Mechanics with Engineering Application, 8th ed., McGraw-Hill, Inc, New York, 1985.